Dr Stoyanov Radiology

| III.1.6 | DDR SYSTEM |  | Baseline | Results | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24 | Detector dose indicator monitoring | 3 Monthly | Exposure Index: • 20½ = _________ • 20v = _________ | Exposure Index: _________ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
| 25 | Image uniformity | 3 monthly |  |  | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
| 111.1.6.1 | AEC DEVICE |  |  |  | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
| 27 | Sensitivity (test all chambers) | 3 Monthly | Left Chamber mAs = _______ ±±5% = _______ Cl = _______ ±±5% = _______ | Left Chamber mAs = _______ Cl = _______ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
|  |  |  | Middle Chamber mAs = _______ ±±5% = _______ Cl = _______ ±±5% = _______ | Middle Chamber mAs = _______ Cl = _______ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
|  |  |  | Right Chamber mAs = _______ ±±5% = _______ Cl = _______ ±±5% = _______ | Right Chamber mAs = _______ Cl = _______ | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
| 111.1.8 | IMAGE DISPLAY |  |  |  | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
| 29 a. | Conditions of image display | 6 MONTHLY |  | Monitors clean and without damage? YES/NO | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
|  |  |  |  | Monitors free from flicker and visibly clear? YES/NO | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
|  |  |  |  | Monitors compare well with each other? YES/NO | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |
|  |  |  |  | Distortions or non-uniformities? YES/NO | ☐ | ☐ | ☐ | ☐ | ☐ | ☐ |

Instructions: Complete each test at the specified frequency. Record baseline values and compare results. Mark checkboxes for each test completion. Answer YES/NO questions as appropriate. Ensure all measurements are within acceptable tolerances (±5% where indicated).